https://www.overleaf.com/7553437744gyfmpdzcchyt#d2f163

Reviewer 1 of INDUSCON 2025 submission 212

Comments to the author
======================

The paper provides a very interesting review of the hosting
capacity of distributed generation, highlighting the
associated technical, economic, and regulatory challenges.
Hosting capacity analysis has gained significant importance
due to the growth and the need for integration of
distributed generation, becoming a fundamental tool to
support the planning and regulation of distribution
networks. Overall, the paper is well written and presents a
good structure, facilitating readability.

Comments:

- The resolution of Figure 2 should be improved, as the
numbers on the map are difficult to read. Enhancing the
clarity will significantly aid reader comprehension.

- Please verify if all words in the figure captions need to
start with capital letters.

- In the introduction, just below Figure 2, item 1) of the
main research questions contains the term “arein,” which
appears to be a typo and should be corrected.


- It would be beneficial to include a reference that
clearly explains the snowball technique to help readers
unfamiliar with this methodology.

- The title of Section III is currently written as “Results
Y Discussion.” Please correct this to “Results and
Discussion”.

- The paper mentions that MATLAB and PowerFactory are used
in combination with Python, while OpenDSS is used
independently. This wording might mislead readers into
thinking OpenDSS cannot be integrated with Python. It is
recommended to clarify that multiple Python libraries exist
that enable seamless integration with OpenDSS, enhancing
distribution network analysis capabilities.

- Throughout the manuscript, the term “electric
concessionaires” is used. It is suggested to replace this
with “electric utilities". 


- “In case the demand is unknown, 30% of the maximum
recorded demand in the circuit is estimated” should be
better explained. Does this 30% value apply to both daytime
and nighttime periods? Figure 7 indicates that this
percentage is still notably lower than the minimum demand
for those periods. If possible, provide a rationale and
specifying the applicable scenarios for this assumption
will enhance clarity.

- Please clarify whether the term “Annual share of
photovoltaic energy” refers to the annual energy injected
into the grid by PV systems or the penetration level based
on installed PV capacity.

- For improved clarity, it is recommended to use the term
“Grid load” instead of “Load of the grid,” especially after
Figure 7.

- In Section IV (Final Considerations), the phrase “reverse
flows in transmission lines” should be revised. Reverse
power flows typically occur in distribution lines rather
than transmission lines.

Reviewer 2 of INDUSCON 2025 submission 212

Comments to the author
======================

This paper introduces an interesting bibliometric analysis
about hosting capacity. This paper covers aspects about
methods, software, issues and specific problems about
hosting capacity. However, a section that includes a deep
discussion is necessary.
Here some comments:
- Section III-C: Please, to include the references for each
one of the factors determining Hosting Capacity. Who
authors have covered each one of these factors?
- Section IV: Please, to separate the final considerations
into two sections: discussions and conclusions.
- Page 2. A typographical error. “1) What calculation
methods arein the literature”.

Reviewer 3 of INDUSCON 2025 submission 212

Comments to the author
======================

The article is well-written and discusses the interesting
topic of hosting capacity.
It seems that just section III-C includes some comments
about the Honduras context. I suggest trying to extend that
Honduran perspective in other parts of the manuscript.

Specific comments:
a)	Correct “Y” in “RESULTS Y DISCUSSIONS”. Similarly,
“y” appears in several instances in the references, as in
[11] “Arguello y L. N. Ochoa”, [15] “L. F. Buitrago, y F.
Villada”, [27], and [33].
b)	According to the conference template, figure
captions end with a period (.).
c)	The Abstract highlights “practical measures adopted
to mitigate the consequences of unregulated photovoltaic
integration” but only mentions “advanced inverter
functions”. Those practical measures could be mentioned in
the Abstract.
d)	The Abstract does not mention the term “Honduran
Perspective”, which appears in the title.
e)	The sentence “Furthermore, multi-objective
generation expansion strategies have been proposed to
support the secure and cost-effective integration of
variable renewable energy sources, as in [12]” is not well
connected with the discussion about publications about
hosting capacity in Central America.
f)	Check “arein”.
g)	It is suggested to place figures and tables at the
top of the page.